The License Manager

RPG’s radiometers are delivered with a preliminary limited license of 30 days. Without activating an unlimited license, the radiometer stops operation when the limited license is expired. The common procedure to avoid this is the following:

Invoke the License Manager menu. 
The user can retrieve license status information with the Get License Status command. The license type (limited or unlimited) as well as the expiration date and time will be displayed. In order to obtain an unlimited license, the following steps have to be performed:
1.	Connect to the radiometer and click the Get License ID from Radiometer button. The license ID code is then written to the file ‘LicID.DAT’ stored in the radiometer root directory (the directory where R2CH.EXE is located). 
2.	Send the ‘LicID.DAT’ file to RPG (by e-mail to info@radiometer-physics.de). Then the 10 digit license code will be returned (also by e-mail).
3.	Enter the 10 digit license code into the edit box in the license manager and click Send License Code. The license manager will inform the user if the unlimited license installation was successful or not. If not successful, please contact RPG again.

The commands in the RPG Access Only box are not intended for user purposes.